## dfab_metadata
NumericID | DescriptiveID | Description | Unit | Type
3200000 | temp_amb | Ambient temperature [°C] | roof | Temperature Ambient
3200008 | irrad | Global solar irradiation [W/m^2] | roof | Solar Radiation
421110008 | Y1_371 | Valve 1 position room 371 [0/1] | dfab | Valve
421110009 | Y2_371 | Valve 2 position room 371 [0/1] | dfab | Valve
421110010 | Y3_371 | Valve 3 position room 371 [0/1] | dfab | Valve
421110011 | Y4_371 | Valve 4 position room 371 [0/1] | dfab | Valve
421110012 | Y5_371 | Valve 5 position room 371 [0/1] | dfab | Valve
421110013 | Y6_371 | Valve 6 position room 371 [0/1] | dfab | Valve
421110014 | Y7_371 | Valve 7 position room 371 [0/1] | dfab | Valve
421110023 | Y1_472 | Valve 1 position room 472 [0/1] | dfab | Valve
421110024 | Y2_472 | Valve 2 position room 472 [0/1] | dfab | Valve
421110029 | Y3_472 | Valve 3 position room 472 [0/1] | dfab | Valve
421110025 | Y1_474 | Valve 1 position room 474 [0/1] | dfab | Valve
421110026 | Y1_476 | Valve 1 position room 476 [0/1] | dfab | Valve
421110027 | Y2_476 | Valve 2 position room 476 [0/1] | dfab | Valve
421110028 | Y3_476 | Valve 3 position room 476 [0/1] | dfab | Valve
421110038 | Y1_571 | Valve 1 position room 571 [0/1] | dfab | Valve
421110043 | Y2_571 | Valve 2 position room 571 [0/1] | dfab | Valve
421110044 | Y3_571 | Valve 3 position room 571 [0/1] | dfab | Valve
421110042 | Y1_573 | Valve 1 position room 573 [0/1] | dfab | Valve
421110039 | Y1_574 | Valve 1 position room 574 [0/1] | dfab | Valve
421110040 | Y2_574 | Valve 2 position room 574 [0/1] | dfab | Valve
421110041 | Y3_574 | Valve 3 position room 574 [0/1] | dfab | Valve
421110048 | temp_371 | Temperature room 371 [°C] | dfab | Temperature Indoor
421110054 | temp_472 | Temperature room 472 [°C] | dfab | Temperature Indoor
421110060 | temp_474 | Temperature room 474 [°C] | dfab | Temperature Indoor
421110066 | temp_476 | Temperature room 476 [°C] | dfab | Temperature Indoor
421110072 | temp_571 | Temperature room 571 [°C] | dfab | Temperature Indoor
421110078 | temp_573 | Temperature room 573 [°C] | dfab | Temperature Indoor
421110084 | temp_574 | Temperature room 574 [°C] | dfab | Temperature Indoor
421110050 | setp_371 | Temperature setpoint room 272 [°C] | dfab | Setpoint
421110056 | setp_472 | Temperature setpoint room 472 [°C] | dfab | Setpoint
421110062 | setp_474 | Temperature setpoint room 474 [°C] | dfab | Setpoint
421110068 | setp_476 | Temperature setpoint room 476 [°C] | dfab | Setpoint
421110074 | setp_571 | Temperature setpoint room 571 [°C] | dfab | Setpoint
421110080 | setp_573 | Temperature setpoint room 573 [°C] | dfab | Setpoint
421110086 | setp_574 | Temperature setpoint room 574 [°C] | dfab | Setpoint
421100172 | heating_cooling_power | Heating and cooling power unit [kW] | dfab | Heating Cooling
42190064 | kitchen_active_power | Kitchen electric active power [kW] | dfab | Electricity Kitchen
42190139 | total_active_power | Total electric active power [kW] | dfab | Electricity Total
421100023 | shower_471 | Water consumption shower room 471 [l/min] | dfab | Water
421100053 | shower_571 | Water consumption shower room 571 [l/min] | dfab | Water